MS-QMS Template. HA030-064-01_PDLM Module Verification or Module Integration Plan Template.

# PURPOSE

<The purpose of this document is to identify and capture the Module verification or Module-Integration Plans. Those plans include definition of, methodologies and preparation of equipment, material and personnel as needed.>

# SCOPE

This record applies to Philips, CT/AMI.

# Technical Administrative Information

- Date

- Agenda

- Attendance

[All invitees to this review must be documented within this table. Review can be performed offline. Add lines as necessary.]

| Capacity/Function of the Reviewer(s)) | Attendance |
| --- | --- |
| Design Authority | <Name of Review Owner> |
| Design Quality Assurance Engineer |  |
| Functional Manager |  |

- Review Outcome

[List open issues or comments if necessary. If there are no comments during the plan review, write “<Module verification/Module-Integration> Plan was reviewed and approved. There are no open items associated with this plan”]

# CONTENT

## Module List

The purpose of this section is to:

- List the identified modules which are in the scope of this plan

- Specify reason for test effort (e.g. NPI or sustaining effort).

- Identify module requirements or specification document to be verified where applicable.

- Specify methodology to be used (e.g. by Test, by Inspection, by Analysis etc.

Note: in case multiple methodologies are planned for a single module, state all applicable methodologies)

- Identify the roles of personnel required for performing the verification/integration activities

The Module List Table is required for any Module Verification Plan. It is NOT optional.

The Module List Table identifies and applies to modules, components, units or Unit Under Test (UUT) to be verified

Note: for SW Module verification, Software Modules which are identified in the ‘Is Formal “Module verification” Required?’ column as "Yes" in the Software Module Decision Table shall be included in the Module List Table.

Add or remove rows in the table below as necessary.]

Module List Table:

| Module Name | Module Identification | Verification Type | Role | Notes |
| --- | --- | --- | --- | --- |
| <Descriptive title of module> | <Part number of the module, Module Name for SW, and/or specification DHF ID> | <Methodology to be used> | <Responsible Engineer> | <Indicate whether an new test procedure is planned, existing procedure to be reused or to be modified> |

[Methodology can be either: Verification by Test, by Inspection or by Analysis. Additional methodologies for Software can be: automated unit tests, Static Analysis or Dynamic analysis.

For module-integration, the modules or subsystems to be integrated and test activities shall be described. List the major integration steps detail in section 4.5 - 4.6 to give an overview of the module-integration plans.]

[Note: Software Module verification Decision Table applies to software modules, only. It shall be deleted if non-software modules are the subject of the plan. For the module verification of software modules, this table must be completed according to the following guidance:

Module – List the software module or item being considered.

Does the code “mitigate a safety related risk”? Indicate "Yes" or "No" to indicate if this software module is considered to be part of the mitigation of a safety related risk of the system. Software that “mitigates a safety related risk” is also considered to be labeled as a Class C Software Item per 2003000438 (Risk Management Standard Operating Procedure) or 2003000196 (PDLM Design Input SOP). A brief justification shall follow the "Yes" or "No" indication or a reference to the Risk Management File or System/Sub-System Design Specifications. A "Yes" in this column indicates that a Code Review and Module Testing will both be required.

Is “Code Review” Required? Indicate "Yes" or "No". If “Yes”, enter the part number of the Code Review document. A brief justification may follow the "Yes" or "No" indication. If a "Yes" is present in the row for ‘Does the Code “mitigate a safety related risk”?’ then a Code Review is mandatory.

Is formal “Module Testing” Required? Indicate "Yes" or "No". If the indication is “Yes”, the Module Test Report is then listed in the Module List Table. A brief justification may follow the "Yes" or "No" indication. Software modules (items) that are classified as Class B or Class C per 2003000438 (Risk Management Standard Operating Procedure) or 2003000196 (PDLM Design Input SOP) require a module test.

Comments - Provide any special testing needs or other notes about software module testing.

Feature / Functionality - Heading of the feature / functionality to be tested. Note a module may pertain to more than one feature and as such, could be listed under two different features within the table (ex: module A, as shown).Additionally, in certain cases multiple modules can be tested under a certain functionality (ex: Module A, Module B - List of modules that contribute to the feature / functionality to be tested).]

[Software Module Testing Decision Table:]

[Add or remove rows in the table below as necessary.]

[Table below shall be removed for non-Software modules]

| Software Module Name | Does the Code “mitigate a safety related risk”? | Is “Code Review” Required? | Is Formal “Module Testing” Required? | Comments |
| --- | --- | --- | --- | --- |
| <Feature / Functionality> |  |  |  |  |

## Test Equipment and Test Setup

[Identify the significant system assets required for module verification or module-integration (e.g. tools, measuring instruments and/or system, subsystem or additional parts related to test setup). In the Comments section, identify the anticipated timeframe where applicable. Specify the need for any custom tooling or equipment.

Add or remove rows in the table below as necessary]

| Index | Test Equipment Name | Test Equipment Description [Description of setup such as P/N and revision of system, subsystem or SW tool as applicable. For nominal test tools such as DVM or Oscilloscope controlled by Equipment Lifecycle SOP enter N/A here] | Comments |
| --- | --- | --- | --- |
| <1> | <XXXXXX> | <XXXXXX> | <XXXXXX> |

## Test Unit Rationalization

<The number of test units and number of test repetitions must be considered and rationalized for the test performed. A test unit is an instance of a module used when doing sample testing of hardware or mechanical parts/modules. Statistical methods utilized shall be described rationalized where used, as applicable. See Statistical Techniques SOP for details. If no sample testing of hardware or mechanical parts/modules is included in this plan, enter "N/A" for this section>

## Personnel

[Identify personnel required to set up and conduct the testing. Use individual names only if a particular individual is required to execute the testing, otherwise, indicate the title to indicate the skill needed for the testing and write N/A under Personnel Name or ID column. In the Comments column, minimally identify and list the skills and timeframe that personnel are needed from departments outside of R&D. A reference can be made to the Project Management Plan, if one exists.]

[Add or remove rows in the table below as necessary.]

| Index | Personnel Name or ID | Personnel Title | Comments |
| --- | --- | --- | --- |
| <1> | <XXXXXX> | <XXXXXX> | <XXXXXX> |

## Module Verification to Be Performed

[Specify “N/A” for Module Integration Plans. Briefly describe the module verification activities to be executed on the listed modules. Add or remove rows in the table below as necessary.]

| Module Name | Module Identification | Sub-systems and/or Accessories required | Verification Description |
| --- | --- | --- | --- |
| <XXXXXX> | <XXXXXX> | <XXXXXX> | <Provide a high level description of the test to be performed on the listed module> |

## Module Integration Tests to Be Performed

[Specify “N/A” for Module Verification Plans. Briefly describe the module-integration test to be executed on the modules. Add or remove rows in the table below as necessary.]

| Module Group Name | Module Part Number(s) (if applicable) | Module Test Report Document Number | Author of Module-Integration Test Procedure | Sub-systems and/or Accessories required | Description |
| --- | --- | --- | --- | --- | --- |
| <Descriptive title of module group> | <Part numbers of the modules> | <Part number of the module-integration test report, if exists > | <Responsible Engineer> | <List of pre-requisites to test> | <Indicate if each test procedure is an existing procedure, a procedure that needs to be modified, or if a new procedure needs to be written. Indicate where only part of a test procedure needs to be run.> |

# TERMS AND ABBREVIATIONS

| Term / Abbreviation | Description |
| --- | --- |

# APPENDICES

| Appendix | Title |
| --- | --- |

# REFERENCES

## External References

| Document ID | Document Title |
| --- | --- |
| <XXXXXX> | <XXXXXX> |

## Internal References

| Document ID | Document Title |
| --- | --- |
| <XXXXXX> | <XXXXXX> |
| <SwRS> | <XXXXXX> |
| <ERS> | <XXXXXX> |
| <MeRS> | <XXXXXX> |

# RECORD CHANGE SUMMARY

| Revision | Document Change No. | Document Editor | Description of Change |
| --- | --- | --- | --- |

# RECORD APPROVALS

[List here the approvers of this document. Add additional rows as necessary.]

[Signature and date - For paper based records place handwritten signature and date.

For electronic records place “Refer to  PLM tool”, where signatures and dates are captured in  PLM tool as part of the document change order.]

Signatures and dates are captured in PLM tool as part of the document change order.

| Signature Reason | Function | Name |
| --- | --- | --- |
| Author | Development Engineer |  |
| Approval | Design Authority |  |
| Approval | Design Quality Engineer |  |

- APPENDIx <x> – < Name of the Appendix>